## forest
Sensor Information at Wolf Creek |  | Green denotes active sensor
Forest
Measurement | Manufacturer/Model | Serial # | Date Installed | Date Removed | Height Above Ground Surface (m) | YTG Barcode | Datalogger | Notes
Air Temperature, RH - Upper | HC2-S3 Rontronic HydroClip2 | 0061012334 | 2013-05-10 |  |  | none | Fo1
| Vaisala HM45C212 | C2028 | 2007-08-04 | 2013-05-03 |  | Y206762 | Fo1
| Vaisala HMP35CF |  | 1994-06-09 | 2007-08-04 | 14.56 (94-6/06) 20.12 (6/96-7/98) 21.34 (7/98-?) |  | Fo1
Air Temperature, RH - Mid | HC2-S3 Rontronic HydroClip2 | 0061012338 | 2013-05-10 |  |  | none | Fo1
| HM45C212 | C2027 | 2007-08-04 | 2013-05-03 |  | Y206763 | Fo1
| Vaisala HMP35CF |  | 1996-03-08 | 2007-08-04 | 14.63 |  | Fo1
Air Temperature, RH - Lower | HC2-S3 Rontronic HydroClip2 | 0061012327 | 2013-05-10 |  |  | none | Fo1
| HM45C212 | C1910 | 2007-08-04 | 2013-05-03 |  | Y205693 | Fo1
| Vaisala HMP35CF |  | 1993-09-24 | 2007-08-04 | 2.08 |  | Fo1
Air Temperature | Omega Type E |  | 1997 | 2003 | 12 |  | Fo3 | On hanging tree
IR Canopy Temperature | Apogee SI-111 | 2779 | 2013-06-13 |  | apx 18.5 | Y214518 | Fo1 | No Shield
| Everest model 4000 42L | 6648 | 1994-06-09 | 2013-05-03 | 14.94 (94-6/96) 19.82 (6/96-5/13) | Y206764 | Fo1
IR Ground Surface Temperature | Apogee SI-111 | 3309 | 2013-06-27 |  | 1.54 (6/13-current) | none | Fo2 | Shielded, angle of 33o from vertical, moss ground surface cover (see photo June 13/13)
IR Ground Surface Temperature? | Omega IRS |  | 1994-06-09 | 1997-02-09
Air-Snow Interface Temperature | Omega Type E |  | 1993-09-24 | ? | 0.1 |  | Fo1
Wind Speed, Direction | RM Young 5103-10 |  | 2007-08-04 |  |  |  | Fo1
Wind Speed - High | NRG 40 Cup Anemometer |  | 1994 | 2007-08-04 | 14.48 (6/94-6/96) 19.82 (6-96-?) |  | Fo1
| Lambrect |  | 1993-09-24 | 1994 | 11.81 |  | Fo1
Wind Speed - Low | NRG 40 Cup Anemometer |  | 1994 | ? | 4.8 |  | Fo1
| Lambrect |  | 1993-09-24 | 1994 | 4.8 |  | Fo1
Wind Speed, Direction - Low | RM Young 5103-10 |  | 1997 | 2003 | 7.47 |  | Fo3
Wind Speed, Direction - High | RM Young 5103-10 |  | 1997 | 2003 | 11.89 |  | Fo3
Net Radiation - Upper | NR-Lite | 51939 | Purchased April 2006 |  |  | Y205689 | Fo1 | multiplier = 66.667
| REBS Q6.0 | 93228 | 1993-09-24 | ? | 12.10 (93-6/94) 14.63 (6/94-04) 19.82 (6/04-?) | none | Fo1 | CF Top= 13.0 Wm-2 mV-1
Net Radiation - Lower | REBS Q7.1 |  | 1997-02-09 | 1998-07-14 | 2 |  | Fo1
| Tube |  | 1999-04-15 | 2007-08-04 |  |  | Fo1
Incoming Shortwave Radiation | Kipp and Zonen CMP3-L | 60292 | Purchased April 2006 |  |  | Y205696 | Fo1 | multiplier = 89.445
| LiCor Li200S |  | 1995-05-04 | ? | 14.33 (95-6/96) 20.43 (6/96-?)
Outgoing Shortwave Radiation | Kipp and Zonen CMP3-L | 60293 | Purchased April 2006 |  |  | Y205697 | Fo1 | calibrated July 2013; multiplier = 68.966
| LiCor Li200S |  | 1994-06-09 | ? | 4.40 (94-6/96) 14.33 (6/96-?) |  | Fo1
Snow Depth | SR50M-45 | C5015 | 2007-08-04 |  | 1.41 (?- 6/13) 1.247 (6/13-current) | Y205690 | Fo1 | moved to slightly different location on June 13, 2013
| CSI UDG01 |  | 1993-09-24 | 2007-08-04 | 1.7 |  | Fo1
Ground Heat Flux | REBS HFT3 | 933117 | 1993-09-24 |  | -0.16 |  | Fo1
Soil Temperature | CSI 107B | C3171 | 1993-09-24 |  | -0.11 |  | Fo1
| YSI 40328 |  | 1996 |  | -0.05 |  | Fo2
| YSI 40328 |  | 1996 |  | -0.15 |  | Fo2
| YSI 40328 |  | 1996 |  | -0.3 |  | Fo2
| YSI 40328 |  | 1996 |  | -0.8 |  | Fo2
Soil Moisture | CS615 TDR | LT# 431625 | 1996 |  | -0.05 |  | Fo2
| CS615 TDR | LT# 431625 | 1996 |  | -0.15 |  | Fo2
| CS615 TDR | LT# 431625 | 1996 |  | -0.3 |  | Fo2
| CS615 TDR | LT# 431625 | 1996 |  | -0.8 |  | Fo2
Precipitation | Geonor T-200B | 67406 | 2007-08-04 |  | 1.75 | Y206765 | Fo1
Snow | Nipher Gauge |  | 1997 |  |  |  | n/a
Rain | Texas TE525M Tipping Bucket |  | 1993-09-24 |  | 14.56 (93-6/06) 20.12 (6/06-7/98) 21.34 (7/98-?) |  | Fo1
Snow Particle Detector | PD32 |  | 1993-09-24 | ? |  |  | Fo1
Hanging Tree Pressure Sensor | Sensotec model 82 |  | 1997 | 2003 |  |  | Fo3
Datalogger | CR1000 |  | 2013-05-03 |  | n/a |  | Fo1
| 21x | 10749 | ? | 2013-05-03 | n/a | INAC 389813 | Fo1
| CR1000 | 35582 and 29192 | 2013-06-27 |  | n/a | Y214516 | Fo2
| CR10 | 27146 | 1996-08-24 | 2013-06-27 | n/a | EnvCan X01342 | Fo2

## alpine
Alpine
Measurement | Sensor/Manufacturer | Serial # | Date Installed | Date Removed | Height Above Ground Surface (m) | YTG Barcode | Datalogger | Notes
Air Temperature, RH | HM45C212 | C1730 | ? |  | 2.05 |  | Alpine Tower
| Vaisala HMP35CF |  | 1993-09-23 | ? |  |  | Alpine Tower
| Vaisala HMP35CF |  | Data Starts November 12, 1998 | Battery Dies Dec 26, 2001 |  |  | ALP 2
Air-Snow Interface Temperature | Omega Type E | none | 1993 |  | 0.01 |  | Alpine Tower
IR Ground Surface Temperature | Apogee SI-111 | 3308 | 2013-07-08 |  | 1.68 | none | Alpine Tower | Shielded, angle of apx 48 degrees from vertical
| Everest model 4000 42L | 6260 | 1994-06-09 | 2013-02-08 | 1.6 | none | Alpine Tower | 15 degree FOV
| Omega |  | 1994-06-09
Wind Speed and Direction | RM Young 5103-10 |  | 2002 |  | 2.79 |  | Alpine Tower
| RM Young |  | 1997-08-20
| Eastern |  | 1994-06-09 | 1997-08-20
Wind Speed - Lower | Met One Model 014A | P10580 | 2013-07-08 |  | 0.82 | none | Alpine Tower | There are 30cm tall brush beneath this wind sensor at instalation
| NRG 40 Cup Anemometer | JP05 | 1994 | 2013-07-08 | 0.66 (94-97) 0.85 (98-13) | none | Alpine Tower | There are 30cm tall brush beneath this wind sensor at removal
| Lambrect |  | 1993 | 1994 | 0.66
Wind Speed - Upper | NRG 40 Cup Anemometer |  | 1994 |  | 2.33 (94-97) 2.75 (98-) |  | Alpine Tower
| Lambrect |  | 1993 | 1994 | 2.33
Wind Direction | NRG 200P | 3542P | 1993 | ? | 2.75
Net Radiation | NR-Lite | 41690 | 2005-08-19 |  | 1.68 |  | Alpine Tower | multiplier=80.0
| REBS Q6.0 | Q99026 | 1993-09-23 | 2005-08-19 | 1.68 | none | Alpine Tower | CF Top= 9.11 Wm-2 mV-1; CF Bot = 11.07 Wm-2 mV-1
Incoming Shortwave Radiation | Kipp and Zonen CMP3-L | 58056 | 2005-08-19 |  | 2.93 |  | Alpine Tower | multiplier=71.736
| LiCor Li200S |  | 1993-09-23 | 2005-08-19 | 2.93 |  | Alpine Tower
Outgoing Shortwave Radiation | Kipp and Zonen CMP3-L | 58057 | 2005-08-19 |  | 1.69 |  | Alpine Tower | multiplier=76.219
| LiCor Li200S |  | 1993-09-23 | 2005-08-19 | 1.69 |  | Alpine Tower
Snow Depth | SR50M-45 | C4236 | 2005-08-19 |  | 1.65 |  | Alpine Tower
| CSI UDG01 |  | 1993-09-23 | 2005-08-19 | 1.65 |  | Alpine Tower
Ground Heat Flux | REBS HFT3 | 933115 | 1993-09-23 |  | -0.08 |  | Alpine Tower | multiplier=41.6
Soil Temperature | CSI 107B | C3169 | 1993-09-23 |  | -0.03 |  | Alpine Tower
| YSI 40328 |  | 1996 |  | -0.05 |  | Alpine Tower
| YSI 40328 |  | 1996 |  | -0.15 |  | Alpine Tower
Soil Moisture | CS615 TDR | 8688 LT# 431625 | 1996 |  | -0.05 |  | Alpine Tower
| CS615 TDR | 8688 LT# 431625 | 1996 |  | -0.15 |  | Alpine Tower
Rain | Texas TE525M Tipping Bucket | 12200-693 (389810) | 1993-09-23 |  | 1.87 |  | Alpine Tower
Precipitation | Geonor T-200B |  | 2010-09-08 |  |  |  | Alpine Geonor
Snow | Nipher Gauge |  | 1993 |  |  |  | none
Air Pressure | Viasala PTA-427 Barometer | 588149 | 1993-09-23 |  | 1 (inside logger box) |  | Alpine Tower
Snow Particle Detector | PD32 |  | 1993-09-23 |  | 0.77 |  | Alpine Tower
Datalogger | CR1000 | 42858 and 36247 | 2013-07-08 |  | n/a | Y217985 | Alpine Tower
| CSI 21x | 13380 |  | 2013-07-08 | n/a | INAC 424020 | Alpine Tower | calibrated Jan 25, 2005
| ? |  |  |  | n/a |  | Alpine Geonor

## buckbrush
Buckbrush
Measurement | Sensor/Manufacturer | Serial # | Date Installed | Date Removed | Height Above Ground Surface | YTG Barcode | Datalogger | Notes
Air Temperature, RH | HMP45C212-L | C10909 | 2006-09-13 |  | 2.6 |  | BB Tower
| Vaisala HMP35CF |  | 1993 | 2006-09-13 | 2.6 |  | BB Tower
Air Temperature | [6 empty] | Telemetry
Air-Snow Interface Temperature | Omega Type E | none | 1993 |  | 0.10 (93-95) 0.21 (96-?) | none | BB Tower
IR Ground Surface Temperature | Apogee SI-111 | 2632 | 2013-08-02 |  |  | none | BB Tower | No Shield
| Everest model 4000 42L | 6479 | 1994 | 2013-08-02 | 3.10 (94) 3.18 (95-?) | Y205698 | BB Tower | 15 degree FOV
Wind Speed - Low | NRG 40 Cup Anemometer | none | 1994 |  | 2.25 |  | BB Tower
| Lambrect |  | 1993 | 1994 | 2.25 |  | BB Tower
Wind Speed - High | NRG 40 Cup Anemometer | none | 1994 |  | 4.6 |  | BB Tower
| Lambrect |  | 1993 | 1994 | 4.6 |  | BB Tower
Wind Speed, Direction - High | RM Young 5103-10 | 26444 | 1997-08-06 |  | 4.98 |  | BB Tower
Net Radiation | NR-Lite | 51938 | September 2006? |  | 3.1 |  | BB Tower | Multiplier= 67.568
| REBS Q6.0 | 93226 | 1993 | September 2006? | 3.10 (93-97) 3.18 (97-?) |  | BB Tower | CF Top= 13.2 Wm-2 mV-1
Incoming Shortwave Radiation | Kipp and Zonen CMP3-L | 60296 | September 2006? |  | 4.8 | Y205694 | BB Tower | Multiplier= 78.927
| LiCor Li200S |  | 1995-05-05 | September 2006? | 4.8 (96) 4.98 (97-?) |  | BB Tower
| Licor | [5 empty] | Telemetry
Outgoing Shortwave Radiation | Kipp and Zonen CMP3-L | 60294 | September 2006? |  | 4.4 | Y205695 | BB Tower | Multiplier= 76.104
| LiCor Li200S |  | 1995-05-05 | September 2006? | 4.4 |  | BB Tower
Snow Depth | CSI SR50 | C5014 | 2006-09-13 |  | 1.67 |  | BB Tower
| CSI UDG01 |  | 1993 | 2006-09-13 | 1.662 |  | BB Tower
| JUDD | [5 empty] | Telemetry
Snow Water Equivalent | Snow Pillow | [5 empty] | Telemetry
Ground Heat Flux | REBS HFT3 | 933116 | 1993 |  | -0.06 |  | BB Tower | CF = 45.3 Wm-2 mV-1
Soil Temperature | CSI 107B | C3137 | 1993 |  | -0.11 |  | BB Tower
| YSI 40328 | 40832 | 1996 |  | -0.05 |  | BB Tower
| YSI 40328 | 40832 | 1996 |  | -0.15 |  | BB Tower
| YSI 40328 | 40832 | 1996 |  | -0.3 |  | BB Tower
| YSI 40328 | 40832 | 1996 |  | -0.8 |  | BB Tower
Soil Moisture | CS615 TDR | 8691 LT# 431625 | 1996 |  | -0.05 |  | BB Tower
| CS615 TDR | 8692 LT# 431625 | 1996 |  | -0.15 |  | BB Tower
| CS615 TDR | 8693 LT# 431625 | 1996 |  | -0.3 |  | BB Tower
| CS615 TDR | 8694 LT# 431625 | 1996 | 2006-09-13 | -0.8 |  | BB Tower
Telemetry
Rain | Texas TE525M Tipping Bucket | 12216-693 (389809) | 1993 |  | 4.76 |  | BB Tower
Precipitation | Geonor T-200B | 67405 | 2010-08-27 |  |  | Y206765 | Geonor
| Ott Pluvio version 200 | 319740 | gauge: January 24, 2013 shield: October 3, 2013 |  |  | shield: Y220826 | Pluvio | SDI-12 address 1
| Ott Pluvio version 400 | 321190 | 2013-01-25 |  |  |  | Pluvio | SDI-12 address 0
| Standpipe | [5 empty] | Telemetry
Snow | Nipher Gauge | none | 1993 |  |  |  | n/a
Snow Particle | PD32 | 12-1458 | 1993 | 2013-08-02 | 2.21 |  | BB Tower | stoped working well before sensor was physicaly removed in August 2013
Datalogger | CR1000 | 42857 and 36246 | 2013-08-02 |  | n/a | Y217984 | BB Tower
| CFM100 | 6747 | 2013-08-02 |  | n/a | none | BB Tower
| AM16/32B Relay Multiplexer | 11091 | 2013-08-02 |  | n/a | none | BB Tower
| LLAC4 | 2892 | 2013-08-02 |  | n/a | none | BB Tower
| Campbell 21x | 5574 |  | 2013-08-02 | n/a |  | BB Tower | calibrated July 2006
| CSI SDM-INT8 | 1618 |  | 2013-08-02 | n/a |  | BB Tower
| CR1000 |  | 2013-01-24 | 2013-08-02 | n/a | Env Can. A43680 | Pluvio
| CR800 | 10861 |  |  | n/a |  | Geonor

## granger plateau
Sensor Information at Wolf Creek |  | Green denotes active sensor
Granger Basin Plateau
Measurement | Manufacturer/Model | Serial # | Date Installed | Date Removed | Height Above Ground Surface (m) | YTG Barcode | Datalogger | Notes
Air Temperature, RH | HMP |  | ? |  | 2.32 | none, WLU sensor | GBplat_twr
IR Ground Surface Temperature | Apogee SI-111 |  |  | ? |  |  | GBplat_twr
Wind Speed, Direction - Low | RM Ultrasonic Anamometer model 85000 |  | ? |  | 1.78 | none, WLU sensor | GBplat_twr
Wind Speed, Direction - High |  |  | ? |  | apx 3.0 | none, WLU sensor | GBplat_twr
Incoming Shortwave | Kipp and Zonen CNR 1 | 61284 | ? |  | 2.22 | none, WLU sensor | GBplat_twr
Outgoing Shortwave
Incoming Longwave
Outgoing Longwave
Snow Depth | CSI SR50 | C5692 | ? |  | 1.97 | none, WLU sensor | GBplat_twr
Soil Temperature
Gbplat_pit
Soil Moisture | TDR 100 | 1978 |  |  |  |  | Gbplat_pit
Datalogger | CR1000 | 7078 | ? |  | n/a | none, WLU | GBplat_twr
| CR23x | 1978 | ? |  | n/a |  | Gbplat_pit